|  |  |  |
| --- | --- | --- |
| **BIRCOsolid NW 300 – Grid channel type I without inbuilt fall, with German Technical Approval, ASR-resistant**  + With anchor sleeves for smooth laying  + With interior lifting anchor for precise installation  + Length 1000 mm / 2000 mm  + Width 700 mm  + Construction height 660 mm / 830 mm  + German Technical Approval certificate no. Z-74.4-33  made of concrete C 40/50 according to EN 1433, up to load class F 900 as defined by EN 1433, with anchored 4 mm hot-dipped galvanized solid steel angles for combi-closure system (70 µm zinc coating), with visible sealing joint  [ ] \_\_\_\_\_ m BIRCOsolid NW 300 channel construction height 1   (660 mm)  [ ] \_\_\_\_\_ m BIRCOsolid NW 300 channel construction height 2   (830 mm)  including necessary end caps, delivery and installation according to manufacturer’s installation instructions.  Manufacturer:  BIRCO GmbH Herrenpfädel 142, D 76532 Baden-Baden Phone +497221 - 5003-0; Fax +497221 - 5003-1149; www.birco.de | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – End caps and end caps with outlet DN 200**  + Width 700 mm  made of galvanized steel  [ ] \_\_\_\_\_ pce of end cap(s) for channel construction height 1 / 2  [ ] \_\_\_\_\_ pce of end cap(s) with outlet DN 200 for channel   construction height 1 / 2  delivery.  Manufacturer:  BIRCO GmbH | **Unit price** | **Total price** |

|  |  |  |
| --- | --- | --- |
| **BIRCOsolid NW 300 – In-line outfall unit with cast-in pipe connector** for 1- or 2-sided channel connection  + Galvanized silt bucket  + Cast-in pipe connector for DN 300 pipe  + Without odour trap  + Length 500 mm  + Width 700 mm  made of concrete C 40/50 according to EN 1433, up to load class F 900 as defined by EN 1433, with anchored 4 mm hot-dipped galvanized solid steel angles for combi-closure system (70 µm zinc coating), with visible sealing joint  [ ] \_\_\_\_\_ pce of in-line outfall unit, 1 piece, construction   height 1015 mm / 1185 mm  including necessary end caps, delivery and installation according to manufacturer’s installation instructions.  Manufacturer: BIRCO GmbH | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – In-line outfall unit with PEHD pipe connector** for 1- or 2-sided channel connection  + Galvanized silt bucket  + PEHD pipe connector DA 315x17,9 – SDR 17, length 300 mm  + Length 500 mm  + Width 700mm,  made of concrete C 40/50 according to EN 1433, up to load class F 900 as defined by EN 1433, with anchored 4 mm hot-dipped galvanized solid steel angles for combi-closure system (70 µm zinc coating), with visible sealing joint  [ ] \_\_\_\_\_ pce in-line outfall unit, 1 pipe, construction height   1015 mm / 1185 mm  including necessary end caps, delivery and installation according to manufacturer’s installation instructions.  Manufacturer: BIRCO GmbH | **Unit price** | **Total price** |

|  |  |  |
| --- | --- | --- |
| **BIRCOsolid NW 300 – Gratings**  + Width 417 mm  + Height 35 mm  load class according to DIN EN 1433, with 4-point per grating M16/A2-bolt fastening  [ ] \_\_\_\_\_ pce cast twofold slotted grating black immersion-  lacquered, length 500 mm, load class E 600 / F 900  [ ] \_\_\_\_\_ pce cast twofold slotted grating galvanized,  length 500 mm, load class E 600 / F 900  delivery and installation according to manufacturer’s installation instructions.  Manufacturer: BIRCO GmbH | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – Cutting of channel including grating** and painting or galvanizing of cut angles and gratings.  [ ] \_\_\_\_\_ 90° cut  [ ] \_\_\_\_\_ Mitre cut according to degree specification  Manufacturer: BIRCO GmbH | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – Hole drilling of channel**  [ ] \_\_\_\_\_ in horizontal / vertical direction, diameter DN 300  [ ] \_\_\_\_\_ pce of silt bucket(s)  Delivery.  Manufacturer: BIRCO GmbH | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – Hangers for RD 16 piping**  [ ] \_\_\_\_\_ Hanger RD 16  Delivery  Manufacturer: BIRCO GmbH | **Unit price** | **Total price** |