|  |  |  |
| --- | --- | --- |
| **BIRCOsir NW 520 – channel without inbuilt fall made of C 40/50 concrete, Type I (Load class D 400) or Type M (Load class F 900) according to EN 1433**+ Height 450 mm+ Length 500/1000 mm+ Width at top/at bottom 656/690 mm+ With continuous anchoring system+ Hyperbolic construction form+ Displacement guard of the grating+ Designed for laying from above+ Safety sealing joint[ ] With hot-dip galvanized steel angle[ ] With stainless steel angle [ ] \_\_\_\_\_ m BIRCOsir channel NW 520, Height 450 mm  Length 500/1000 mm Width at top/at bottom 656/690 mm  Drainage capacity of 81,92 l/sec Inlet cross section of 1474,6 cm²[ ] Sealing with SF-Connectincluding necessary end caps, delivery and installation according to manufacturer’s installation instructions.Manufacturer: BIRCO GmbH, Herrenpfaedel 142, 76532 Baden-BadenTel. 0049 7221 5003-0; Fax 0049 7221 5003-1149; [www.birco.com](http://www.birco.com) | **Unit price** | **Total price** |
| **BIRCOsir NW 520 – channel without inbuilt fall made of C 40/50 concrete, Type I (Load class D 400) or Type M (Load class F 900) according to EN 1433**+ Height 550 mm+ Length 500/1000 mm+ Width at top/at bottom 656/690 mm+ With continuous anchoring system+ Hyperbolic construction form+ Displacement guard of the grating+ Designed for laying from above+ Safety sealing joint[ ] With hot-dip galvanized steel angle[ ] With stainless steel angle [ ] \_\_\_\_\_ m BIRCOsir channel NW 520, Height 550 mm  Length 500/1000 mm Width at top/at bottom 656/690 mm  Drainage capacity of 110,81 l/sec Inlet cross section of 1994,6 cm²[ ] Sealing with SF-Connectincluding necessary end caps, delivery and installation according to manufacturer’s installation instructions. | **Unit price** | **Total price** |
| **BIRCOsir NW 520 – 2-part outfall unit, incl. silt bucket, channel with angle and lower part, made of C 40/50 concrete, Load class F 900 (Type M) according to EN 1433** + Channel, Height 1000 mm, with vertical bore hole DN 315 and integrated PEHD-sleeve, incl. CDP coated silt bucket DN 260+ Lower part with horizontal bore hole DN 315, integrated PEHD- sleeve and 4 built-in sleeves for the insertion of handling lugs (suspension gear for laying)+ Length at top/at bottom 1000/1045 mm+ With continuous anchoring system of channel and lower part+ Hyperbolic construction form+ Displacement guard of the grating+ Channel with accessible safety sealing joint[ ] With hot-dip galvanized steel angle[ ] With stainless steel angle [ ] \_\_\_\_\_ pce BIRCOsir NW 520 outfall unit, 2-part  Channel height 450 mm Width at top/bottom 656/640mm  Overall height 1000 mm [ ] \_\_\_\_\_ pce BIRCOsir NW 520 outfall unit, 2-part  Channel height 550 mm  Width at top/bottom 655/640mm  Overall height 1100 mm including necessary end caps, delivery and installation according to manufacturer’s installation instructions. | **Unit price** | **Total price** |
| **BIRCOsir NW 520 – Ductile iron slotted grating, threefold**+ Length 500 mm+ Width 537 mm+ Height 45 mm+ With displacement guardLoad class according to EN 1433, with 8-point per meter M12/A2-bolt fastening per meter[ ] \_\_\_\_\_ pce BIRCOsir NW 520 ductile iron slotted grating, threefold Black immersion lacquered  Slot width 172/17,5 mm  Inlet cross section 2513 cm²/m  Load class D 400 / E 600 / F 900Delivery and installation according to manufacturer’s installation instructions.  | **Unit price** | **Total price** |
| **BIRCOsir NW 520 – End caps with and without outlet** + Width 450 mm[ ] Galvanized steel[ ] Stainless steel[ ] \_\_\_\_\_ pce of end cap(s) for channel height 450/550 mm,  without outlet[ ] \_\_\_\_\_ pce of end cap(s) for channel height 450 mm, outlet DN 200[ ] \_\_\_\_\_ pce of end cap(s) for channel height 550 mm, outlet DN 315Delivery and installation according to manufacturer’s installation instructions. | **Unit price** | **Total price** |
| **BIRCOsir NW 520 – Silt buket**+ PE support washer+ Silt bucket with CDP coating+ Only suitable for vertical bore hole DN 315 with PP sleeve[ ] \_\_\_\_\_ pce BIRCOsir NW 520 Silt bucket d 260  for vertical bore hole DN 315Delivery and installation according to manufacturer’s installation instructions. | **Unit price** | **Total price** |

|  |  |  |
| --- | --- | --- |
| **BIRCOsir NW 520 – PE-foam panel for expansion joint formation diagonally to the channel line**+ prefabricated for BIRCOsir NW 520 constr. height 550 mm+ adjustable on site if the channel height is lower[ ] \_\_\_\_\_ pce BIRCOsir NW 520 PE-foam panelDelivery and installation according to manufacturer’s installation instructions. | **Unit price** | **Total price** |
| **BIRCOsir NW 520 – Sling swivel, suspension gear for channels and 1-part outfall unit** + Sling swivel, Set of 4 pieces+ Load capacity per piece 1 t [ ] \_\_\_\_\_ BIRCOsir NW 520 Sling swivel Set of 4 pieces  Delivery and installation according to manufacturer’s installation instructions. | **Unit price** | **Total price** |
| **BIRCOsir NW 520 – Handling lugs, suspension gear for lower part of the 2-part outfall unit**+ Handling lugs RD 12+ 4 pieces required[ ] \_\_\_\_\_ pce BIRCOsir NW 520 handling lugs RD 12  4 pieces requiredDelivery and installation according to manufacturer’s installation instructions. | **Unit price** | **Total price** |
| **BIRCOsir NW 520 – Cutting of channels including grating** and painting or galvanizing of cut angles and gratings. For mesh gratings welding of end pieces and galvanizing.[ ] \_\_\_\_\_ BIRCOsir NW 520 channel cut at 90° Cut to \_\_\_\_\_ mm at 90° angle[ ] \_\_\_\_\_ BIRCOsir NW 520 channel mitre cut according to degree specification Cut in an angle of \_\_\_\_\_ | **Unit price** | **Total price** |

|  |  |  |
| --- | --- | --- |
| **BIRCOsir NW 520 – Hole drilling of channel**+ Horizontal or vertical drilling+ According to installation instruction: at least 10 cm distance to the channel end+ With integrated PEHD sleeve**Horizontal drilling**[ ] BIRCOsir NW 520 Hole drillingDiameter \_\_\_\_\_Height 450 max. DN 200, Height 550 max. DN 300**Vertical drilling**[ ] BIRCOsir NW 520 Hole drillingDiameter \_\_\_\_\_ (max. DN 300) | **Unit price** | **Total price** |