|  |  |  |
| --- | --- | --- |
| **BIRCOsolid NW 300 – Grid channel type I without inbuilt fall, with German Technical Approval, ASR-resistant**+ With anchor sleeves for smooth laying+ With interior lifting anchor for precise installation+ Length 1000 mm / 2000 mm + Width 700 mm+ Construction height 660 mm / 830 mm+ German Technical Approval certificate no. Z-74.4-33made of concrete C 40/50 according to EN 1433, up to load class F 900 as defined by EN 1433, with anchored 4 mm hot-dipped galvanized solid steel angles for combi-closure system (70 µm zinc coating), with visible sealing joint [ ] \_\_\_\_\_ m BIRCOsolid NW 300 channel construction height 1  (660 mm)[ ] \_\_\_\_\_ m BIRCOsolid NW 300 channel construction height 2  (830 mm)including necessary end caps, delivery and installation according to manufacturer’s installation instructions.Manufacturer: BIRCO GmbHHerrenpfädel 142, D 76532 Baden-BadenPhone +497221 - 5003-0; Fax +497221 - 5003-1149; www.birco.de | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – End caps and end caps with outlet DN 200**+ Width 700 mmmade of galvanized steel[ ] \_\_\_\_\_ pce of end cap(s) for channel construction height 1 / 2[ ] \_\_\_\_\_ pce of end cap(s) with outlet DN 200 for channel  construction height 1 / 2delivery.Manufacturer: BIRCO GmbH | **Unit price** | **Total price** |

|  |  |  |
| --- | --- | --- |
| **BIRCOsolid NW 300 – In-line outfall unit with cast-in pipe connector** for 1- or 2-sided channel connection+ Galvanized silt bucket+ Cast-in pipe connector for DN 300 pipe+ Without odour trap+ Length 500 mm+ Width 700 mmmade of concrete C 40/50 according to EN 1433, up to load class F 900 as defined by EN 1433, with anchored 4 mm hot-dipped galvanized solid steel angles for combi-closure system (70 µm zinc coating), with visible sealing joint[ ] \_\_\_\_\_ pce of in-line outfall unit, 1 piece, construction  height 1015 mm / 1185 mm including necessary end caps, delivery and installation according to manufacturer’s installation instructions.Manufacturer:BIRCO GmbH | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – In-line outfall unit with PEHD pipe connector** for 1- or 2-sided channel connection+ Galvanized silt bucket+ PEHD pipe connector DA 315x17,9 – SDR 17, length 300 mm+ Length 500 mm+ Width 700mm,made of concrete C 40/50 according to EN 1433, up to load class F 900 as defined by EN 1433, with anchored 4 mm hot-dipped galvanized solid steel angles for combi-closure system (70 µm zinc coating), with visible sealing joint[ ] \_\_\_\_\_ pce in-line outfall unit, 1 pipe, construction height  1015 mm / 1185 mm including necessary end caps, delivery and installation according to manufacturer’s installation instructions.Manufacturer:BIRCO GmbH | **Unit price** | **Total price** |

|  |  |  |
| --- | --- | --- |
| **BIRCOsolid NW 300 – Gratings**+ Width 417 mm+ Height 35 mmload class according to DIN EN 1433, with 4-point per grating M16/A2-bolt fastening[ ] \_\_\_\_\_ pce cast twofold slotted grating black immersion- lacquered, length 500 mm, load class E 600 / F 900[ ] \_\_\_\_\_ pce cast twofold slotted grating galvanized, length 500 mm, load class E 600 / F 900delivery and installation according to manufacturer’s installation instructions.Manufacturer:BIRCO GmbH | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – Cutting of channel including grating** and painting or galvanizing of cut angles and gratings.[ ] \_\_\_\_\_ 90° cut[ ] \_\_\_\_\_ Mitre cut according to degree specificationManufacturer:BIRCO GmbH | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – Hole drilling of channel**[ ] \_\_\_\_\_ in horizontal / vertical direction, diameter DN 300[ ] \_\_\_\_\_ pce of silt bucket(s)Delivery.Manufacturer:BIRCO GmbH | **Unit price** | **Total price** |
| **BIRCOsolid NW 300 – Hangers for RD 16 piping**[ ] \_\_\_\_\_ Hanger RD 16DeliveryManufacturer:BIRCO GmbH | **Unit price** | **Total price** |